## List of Actions
List of Actions
# | Electrification | # | Hybrid
1 | Reduced Res Floor Area | 1 | Reduced Res Floor Area
2 | Higher Urban Res Density | 2 | Higher Urban Res Density
3 | Res Code Reduction 60% by 2030 | 3 | Res Code Reduction 60% by 2030
4 | Com Code Reduction 60% by 2030 | 4 | Com Code Reduction 60% by 2031
5 | HP/WH in New Com by 2025 | 5 | HP/WH in New Com by 2025
6 | HP/WH in New Res by 2025 | 6 | HP/WH in New Res by 2025
7 | Wz in Existing Res by 2040 | 7 | Wz in Existing R&C by 2040
8 | Wz in Existing Com by 2040 | 8 | Wz in Existing Com by 2040
9 | Existing Res buildings 100% HP by 2043 | 9 | Existing Res buildings 100% HP by 2045
10 | Existing Res buildings 100% HPWH by 2043 | 10 | Existing Res buildings 100% HPWH by 2045
11 | Existing Com buildings 100% HP by 2043 | 11 | Existing Com buildings 100% HP by 2045
12 | Existing Com buildings 100% HPWH by 2043 | 12 | Existing Com buildings 100% HPWH by 2045
13 | Non-Heating Equip Elec in All Res by 2035
14 | Non-Heating Equip Elec in All Com by 2035
15 | Non-CPP Ind EE 50% by 2050 | 13 | Non-CPP Ind EE 50% by 2052
16 | MD/HD Zero Emission Plan | 14 | MD/HD Zero Emission Plan & 10% FCEV
17 | 10% Mode Shift MD to LD | 15 | 10% Mode Shift MD to LD
18 | 10% Micro-mobility by 2035 | 16 | 10% Micro-mobility by 2037
19 | Increase Amtrak Ridership | 17 | Increase Amtrak Ridership
20 | Carshare Increases by 2035 | 18 | Carshare Increases by 2037
21 | Congestion Pricing | 19 | Congestion Pricing
22 | Water Systems EE 20% by 2035 | 20 | Water Systems EE 20% by 2037
23 | Food Waste Program | 21 | Food Waste Program
24 | Solar on New Buildings | 22 | Ind RH2 70% by 2050
25 | Rooftop Solar | 23 | RNG Full Potential by 2050
26 | Res 25% Energy Storage | 24 | RH2 Injection 15% by 2035
27 | Backup Battery Storage | 25 | Home Fuel Cells 5% by 2030
| 27 | 14 | 25
31
| Not Evaluated because of insufficient Cost Data |  | Not Evaluated because of insufficient Cost Data
| Ind Electrification 70% by 2050 |  | 5% of fuel share from Pyrolysis of biomass by 2035
| 100% Transit Buses EVs by 2035 |  | 100% Transit Buses EVs by 2035
| 50% offroad EVs by 2035 |  | 50% offroad EVs by 2035
| 3 |  | 3

## List Condensed
Actions List Condensed
| Electrification |  |  |  |  | Hybrid
New Title | Description | Category | Action |  |  | Description | Category | Action
Reduced Res Floor Area | Reduced residential floor area | Residential Buildings | Reduce the floor area of new homes |  |  | Reduced residential floor area | Residential Buildings | Reduce the floor area of new homes
Higher Urban Res Density | Higher urban residential density | Residential Buildings | Shift to higher density residences in urban zones |  |  | Higher urban residential density | Residential Buildings | Shift to higher density residences in urban zones
Res Code Reduction 60% by 2030 | Residential and Commercial energy code reduction of 60% by 2030 | Residential Buildings | Require new res buildings to use 60% less energy than base year by 2030 |  |  | Residential and Commercial energy code reduction of 60% by 2030 | Residential Buildings | Require new res buildings to use 60% less energy than base year by 2030
Com Code Reduction 60% by 2031 | Residential and Commercial energy code reduction of 60% by 2030 | Commercial Buildings | Require new com buildings to use 60% less energy than base year by 2030 |  |  | Residential and Commercial energy code reduction of 60% by 20310 | Commercial Buildings | Require new com buildings to use 60% less energy than base year by 2030
HP/WH in New Res by 2025 | Efficient heat pumps and water heaters in 100% of new homes and businesses by 2025 | Residential Equipment | Install 100% electric heat pumps and water heat pumps in new residential buildings by 2025 |  | NG HP/WH in New R&C by 2025 | Efficient heat pumps and water heaters in 100% of new homes and businesses by 2025 | Residential Equipment | Install 100% electric/natural gas heat pumps and water heat pumps in new residential buildings by 2025
HP/WH in New Com by 2025 | Efficient heat pumps and water heaters in 100% of new homes and businesses by 2025 | Commercial Buildings | Install 100% electric heat pumps in new commercial buildings by 2025 |  |  | Efficient heat pumps and water heaters in 100% of new homes and businesses by 2025 | Commercial Buildings | Install 100% electric/natural gas heat pumps in new commercial buildings by 2025 | -1
| Efficient heat pumps and water heaters in 100% of new homes and businesses by 2025 | Commercial Buildings | Install 50% electric hot water heat pumps in new commercial buildings by 2025 | -1 |  | Efficient heat pumps and water heaters in 100% of new homes and businesses by 2025 | Commercial Buildings | Install 50% electric/natural gas hot water heat pumps in new commercial buildings by 2025 | -1
Wz in Existing Res by 2040 | Retrofit 95% of existing buildings reducing energy use by 50% by 2040 | Residential Buildings | Retrofit 95% of existing buildings by 2040 - achieve a 50% reduction in space conditioning and non space conditioning energy use |  |  | Retrofit 95% of existing buildings reducing energy use by 50% by 2040 | Residential Buildings | Retrofit 95% of existing buildings by 2040 - achieve a 50% reduction in space conditioning and non space conditioning energy use
Wz in Existing Com by 2040 | Retrofit 95% of existing buildings reducing energy use by 50% by 2040 | Commercial Buildings | Retrofit 95% of existing buildings by 2040 - achieve a 50% reduction in space conditioning and non space conditioning energy use |  |  | Retrofit 95% of existing buildings reducing energy use by 50% by 2040 | Commercial Buildings | Retrofit 95% of existing buildings by 2040 - achieve a 50% reduction in space conditioning and non space conditioning energy use
Existing Res buildings 100% HP by 2043 | Existing buildings 100% heat pumps and water heaters by 2043 | Residential Equipment | Install 100% electric heat pumps in existing residential buildings by 2043 |  | NG HP/WH in Existing R&C by 2043 | Existing buildings 100% heat pumps and water heaters by 2043 | Residential Equipment | Install 100% electric/natural gas heat pumps in existing residential buildings by 2043
Existing Res buildings 100% HPWH by 2043 | Existing buildings 100% heat pumps and water heaters by 2043 | Residential Equipment | Install 100% electric hot water heat pumps in new residential buildings by 2043 |  |  | Existing buildings 100% heat pumps and water heaters by 2043 | Residential Equipment | Install 100% electric/natural gas hot water heat pumps in new residential buildings by 2043 | -1
Existing Com buildings 100% HP by 2043 | Existing buildings 100% heat pumps and water heaters by 2043 | Commercial Buildings | Install 100% electric heat pumps in new commercial buildings by 2043 |  |  | Existing buildings 100% heat pumps and water heaters by 2043 | Commercial Buildings | Install 100% electric/natural gas heat pumps in new commercial buildings by 2043 | -1
Existing Com buildings 100% HPWH by 2043 | 50% hot water heat pumps in commercial buildings by 2043 | Commercial Buildings | Install 50% electric hot water heat pumps in new commercial buildings by 2043 |  |  | 50% hot water heat pumps in commercial buildings by 2043 | Commercial Buildings | Install 50% electric/natural gas hot water heat pumps in new commercial buildings by 2043 | -1
Non-Heating Equip Elec in All Res by 2035 | 100% electric new non-heating equipment sales for all buildings by 2035 | Residential Equipment | 100% new sales electric NON-space/water heating by 2035 in residential buildings
Non-Heating Equip Elec in All Com by 2035 | 100% electric new non-heating equipment sales for all buildings by 2035 | Commercial Buildings | 100% new sales electric NON-space/water heating by 2035 in commercial buildings
No-CPP Ind EE 50% by 2050 | Non-CPP Industrial load energy reduction of 50% by 2050 | Industrial Process | Improve the energy efficiency of industrial facilities not covered by CPP - 50% reduction of energy use by 2050 |  |  | Non-CPP Industrial load energy reduction of 50% by 2050 | Industrial Process | Improve the energy efficiency of industrial facilities not covered by CPP - 50% reduction of energy use by 2050
100% of new sales EVs by 2035 | 100% of new sales EVs by 2035 | Light duty | 100% EV by 2035 | -1 | 100% of new sales EVs & 10% FCEV by 2035 | 100% of new sales EVs by 2035, 10% FCEV | Light Duty | 100% EV by 2035, 10% FCEV
MD/HD Zero Emission Plan | MD/HD Zero Emission Plan | Medium and Heavy Duty vehicles | Implement the Medium and Heavy Duty Zero Emission Plan by 2035 |  | MD/HD Zero Emission Plan & 10% FCEV | MD/HD Zero Emission Plan | Medium and Heavy Duty vehicles | Implement the Medium and Heavy Duty Zero Emission Plan by 2035, 10% FCEV
100% Transit Buses EVs by 2035 | 100% of new buses are EVs by 2035 | Transit Electrification | Ensure transit agencies are net zero - 50% new bus sales by 2030 and 100% new by 2035 | -1 |  | 100% of new buses are ZEVs by 2035 | Transit Electrification | Ensure transit agencies are net zero - 50% new bus sales by 2030 and 100% new by 2035 - 50% electric/50% hydrogen
10% Mode Shift | Mode shift 10% from MD to LD in urban counties | Freight Intensity | Transfer 10% of medium duty vehicle miles traveled to light duty/electric micro-mobility in urban counties by 2035 |  |  | Mode shift 10% from MD to LD in urban counties | Freight Intensity | Transfer 10% of medium duty vehicle miles traveled to light duty/electric micro-mobility in urban counties by 2035
50% of off-road vehicle sales are EVs by 2035 | 50% of off-road vehicle sales are EVs by 2035 | Commercial Vehicles | Ensure off-road vehicles are zero emissions - 50% of new vehicle sales are electric by 2035 (including farm, forestry, construction and recreational vehicles) | -1 |  | 50% of off-road vehicle sales are RNG by 2035 | Commercial Vehicles | Ensure off-road vehicles are zero emissions - 100% of new vehicle sales are RNG by 2050 (including farm, forestry, construction and recreational vehicles) | -1
10% Micro-mobility by 2035 | 10% micro-mobility share by 2035 | Mode Shift | Implement an electric micro-mobility strategy - Electric bikes: 10% of mode share in Portland Metro and Eugene counties is captured by e-bike use by 2035 |  |  | 10% micro-mobility share by 2035 | Mode Shift | Implement an electric micro-mobility strategy - Electric bikes: 10% of mode share in Portland Metro and Eugene counties is captured by e-bike use by 2035
Increase Amtrak Ridership | Expand passenger rail ridership on Amtrak | Expand Rail | Expand Oregon passenger rail - expanding the ridership of Amtrak |  |  | Expand passenger rail ridership on Amtrak | Expand Rail | Expand Oregon passenger rail - expanding the ridership of Amtrak
Carshare Increases by 2035 | Carshare increases by 2035 | Vehicle Share | Deploy shared vehicles - Car sharing mode increases by 2035, limited to urban counties |  |  | Carshare increases by 2035 | Vehicle Share | Deploy shared vehicles - Car sharing mode increases by 2035, limited to urban counties
Congestion Pricing | Congestion pricing in urban areas resulting in 10% mode shift to transit | Shift to Transit | Implement low emissions zones in urban areas - Congestion pricing achieves a 10% transport mode shift away from private cars to transit in Multnomah, Lane, and Washington counties by 2035 |  |  | Congestion pricing in urban areas resulting in 10% mode shift to transit | Shift to Transit | Implement low emissions zones in urban areas - Congestion pricing achieves a 10% transport mode shift away from private cars to transit in Multnomah, Lane, and Washington counties by 2035
Water Systems EE 20% by 2035 | Water system 20% increase in efficiency by 2035 | Water Efficiency | Enhance the efficiency of the water system - 20% efficiency gain in water distribution system energy use by 2035 as water leakage from older systems are fixed |  |  | Water system 20% increase in efficiency by 2035 | Water Efficiency | Enhance the efficiency of the water system - 20% efficiency gain in water distribution system energy use by 2035 as water leakage from older systems are fixed
Implement Recycling Modernization Act | Implement Recycling Modernization Act | Materials Management | Implement Plastic Pollution and Recycling Modernization Act (SB 582, 2021) | -1 |  | Implement Recycling Modernization Act | Materials Management | Implement Plastic Pollution and Recycling Modernization Act (SB 582, 2021)
Food Waste | Food Waste Program 50% diversion by 2030 | Food Waste Program | 50% organics diversion by 2030 and the incorporation of CH4 capture through anaerobic digestion |  |  | Food Waste Program 50% diversion by 2030 | Food Waste Program | 50% organics diversion by 2030 and the incorporation of CH4 capture through anaerobic digestion
Landfill program | Landfill program | Landfill Program | Implement methane regulations for landfills | -1 |  | Landfill program | Landfill Program | Implement methane regulations for landfills
Solar on New Buildings | 4 TWh of solar on new buildings by 2035 | Distributed Energy | Increase building integrated solar adoption - 4 TWh of building integrated solar generation Installed new building stock by 2035 |  |  | 70% Green hydrogen in industry by 2050 | Hydrogen | Deploy green hydrogen in industries - 70% Hydrogen adoption by 2050 | -1
Rooftop Solar | 16.3 TWh of rooftop solar by 2035 | Distributed Energy | Enable distributed energy resources - 16.3 TWh of rooftop solar PV generation by 2035 |  |  | Use full potential of RNG 47.5 TBtus by 2050 | RNG | Use full RNG potential of 47.5 tBTU by 2050 | ??
Res Energy Storage | 25% of homes with energy storage by 2035 | Storage | Enhance energy storage - Adds storage capability to 25% of residential non-apartment building stock by 2035, assume each storage unit is spec'd to 14 kwh |  |  | 15% hydrogen injection into pipeline by 2035 | Hydrogen | New round of standards for appliances and equipment beyond those codified in 2021 - 15% hydrogen injected into the natural gas distribution system by 2035
Backup Battery Storage | 100% of diesel backup power replaced with electric battery storage by 2035 | Storage | Ensure backup power is clean - 100% diesel backup is replaced by electric battery storage by 2035 |  | Home Fuel Cells 5% by 2030 | 5% of homes with fuel cells by 2030 | Hydrogen | Deploy clean hydrogen fuel cells for homes - 5% of homes will have hydrogen fuel cell by 2030
Ind EE 70% by 2050 | 70% industrial electrification by 2050 | Electricity | Deploy electricity in industries - 70% Electricity adoption by 2050 | -1 |  | 5% of fuel share from Pyrolysis of biomass by 2035 | Biomass | Develop torrefaction or pyrolysis industry - increase biomass fuel share to 5% by 2035
| 34 |  |  | -7 |  | 15 |  |  | -7
|  |  |  | 27 |  |  |  |  | 8
[6 empty] | 49 |  |  | 35

## Electrification Data
TIGHGER Actions Data by Scenario - ELECTRIFICATION
| (Differences between the scenarios are highlighted in red) |  |  |  | 197053900000 | -295691800000 | -44657000000 | -143319510000 |  | 145377000 |  | 5668094000 | 65210105000 | 358341 | An individual or family is considered energy burdened if they spend 6% or more of their income on energy costs.
| ELECTRIFICATION |  |  |  | Cumulative Capital Cost | Cumulative Energy Savings | Cumulative O&M Savings | Cumulative Net Cost/Benefit | NPV of Net Cost/Benefit (discounted at 3%) | Cumulative GHG Emission Reductions | Marginal Abatement Cost | Cumulative Energy Reductions | Cumulative Health Benefits | Person Years of Employment | Percentage of Energy Burdened Households (2050) | Social Cost of Carbon | NO2 | SO2 | PM25 | VOC | Projection Method | Data Assumption Source | Financial Assumption Source | Includes CPP adjustment
# | Title | Description | Category | Action | ($) | ($) | ($) | ($) | ($) | (MTCO2) | ($/MTCO2) | MMBTU | ($) | # | % |  | Mton | Mton | Mton | Mton
1 | Reduced Res Floor Area | Reduced residential floor area | Residential Buildings | Reduce the floor area of new homes | 0 | -3600000000 | -14400000000 | -18000000000 | -7320900000 | 1718000 | -4261.302 | 57000000 | 1400000000 | 0 | 16.16% | -153000 | -1452 | -445 | -5112 | -24220 | linear | DEQ MM has done work in this space, ongoing work includes HB 2001 and others. Recommendation: apply to both new and existing construction. Suggested actions to include in analysis: increase middle missing housing, limit size of newly constructed housing, increase occupancy of existing housing through conversions and/or ADUs The intent of HB 2001 is make the development of middle housing types equally as feasible as single-family dwellings According to US research, average home sizes have almost doubled since 1950, and family sizes have decreased (see 2012 Oregon Department of Environmental Quality's presentation on the environmental benefits of smaller housing and related policies to achieve smaller housing; See also best practice advice on Encouraging Development of Smaller Homes from USDN, municipal experts from across the US & Canada) | Cummings Insights, Construction Market Analysis 2021 downloaded Feb 2022 https://ccorpinsights.com/costs-per-square-foot/
2 | Higher Urban Res Density | Higher urban residential density | Residential Buildings | Shift to higher density residences in urban zones | -27500000000 | -2800000000 | -9000000000 | -39300000000 | -20906500000 | 1315000 | -15898.5117 | 43000000 | 675000000 | -149677 | 16.16% | -112000 | -967 | -258 | -2414 | -11372 | linear
3 | Res Code Reduction 60% by 2030 | Residential energy code reduction of 60% by 2030 | Residential Buildings | Require new res buildings to use 60% less energy than base year by 2030 | 7900000000 | -13500000000 | 300000000 | -5300000000 | -499300000 | 8044000 | -62.0725 | 230000000 | 2200000000 | 38162 | 16.16% | -677000 | -5629 | -1925 | -7790 | -36109 | step | HB 2496 - pg. 29 OGWC 2020 Biennial Report | extrapolated from Internal building energy model analysis of envelope improvement measures using CanmetENERGY's HTAP platform
4 | Com Code Reduction 60% by 2030 | Commercial energy code reduction of 60% by 2030 | Commercial Buildings | Require new com buildings to use 60% less energy than base year by 2030 | 9600000000 | -8230000000 | -710000000 | 660000000 | 2353100000 | 11751000 | 200.249 | 458000000 | 441000000 | 52821 | 0% | -786000 | -8197 | -511 | -1575 | -379 | step |  | https://www.cagbc.org/news-resources/research-and-reports/making-the-case-for-zero-carbon-building/, p. 18 note: more detailed extrapolations by region could be made in future if deemed necessary Other was determined as being the mid point between highest and lowest category
5 | HP/WH in New Com by 2025 | Efficient heat pumps and water heaters in 100% of new homes by 2025 | Residential Equipment | Install 100% electric heat pumps and water heat pumps in new residential buildings by 2025 | 7600000000 | -8600000000 | -100000000 | -1100000000 | 194000000 | 10182000 | 19.0515 | 226000000 | 9013000000 | 34906 | 12.74% | -863000 | -9300 | -3133 | -32093 | -152017 | s curve | Assumes average of US installs from IEA report: https://www.iea.org/reports/heat-pumps Current ratio is 6% ground to heat pumps (200k to 3.4 million in the US), increased to 10%. Hot water heat pump market is currently 59 in new homes and 5% in existing: https://neea.org/img/documents/Northwest-Heat-Pump-Water-Heater-Initiative-Market-Progress-Evaluation-Report-6.pdf Assume retrofits have slower uptake than new construction | US EIA Updated buildings sector appliances and equipment costs and efficiencies, June 2018. page 29, 'high' values used https://www.eia.gov/analysis/studies/buildings/equipcosts/
6A | HP/WH in New Res by 2025 | Efficient heat pumps and water heaters in 100% of businesses by 2025 | Commercial Buildings | Install 100% electric heat pumps in new commercial buildings by 2025 | 60000000 | 400000000 | -500000000 | -40000000 | 33600000 | 3988000 | 8.4134 | 58000000 | 559000000 | 286 | 0% | -364000 | -6803 | -1234 | -1997 | -313 | linear
6B |  | Efficient heat pumps and water heaters in 100% of businesses by 2025 | Commercial Buildings | Install 50% electric hot water heat pumps in new commercial buildings by 2025 | 160000000 | 200000000 | -10000000 | 350000000 | 175500000 | 378000 | 464.3182 | 2000000 | 3530000 | 743 | 0% | -38000 | -310 | -29 | -13 | -18 | linear
7 | Wz in Existing Res by 2040 | Retrofit 95% of existing Res buildings reducing energy use by 50% by 2040 | Residential Buildings | Retrofit 95% of existing buildings by 2040 - achieve a 50% reduction in space conditioning and non space conditioning energy use | 50900000000 | -62800000000 | 700000000 | -11200000000 | 14265700000 | 16610000 | 858.8603 | 1110000000 | 23000000000 | 168902 | 9.13% | -714000 | -19651 | -8099 | -82913 | -393761 | s curve | Reduction Potential from: - State and Local Energy Efficiency Action Network - 2019 Achievable Potential Study - Office of Energy Efficiency and Renewable Energy - United States Building Energy Efficiency Retrofits - NREL Buildings - Boston Building Emissions Performance Standard - Miscellaneous Electric Loads: Characterization and Energy Savings Potential | https://www.pembina.org/docs/event/netzeroforum-backgrounder-2016.pdf, Table 2 based on above source and extrapolated to specific ranges | Y
8 | Wz in Existing Com by 2040 | Retrofit 95% of existing Com buildings reducing energy use by 50% by 2040 | Commercial Buildings | Retrofit 95% of existing buildings by 2040 - achieve a 50% reduction in space conditioning and non space conditioning energy use | 40500000000 | -61200000000 | -4500000000 | -25200000000 | 10356300000 | 17791000 | 582.1096 | 1161000000 | 3800000000 | 123048 | 0% | -759000 | -42063 | -7755 | -13446 | -1890 | s curve |  |  | Y
9 | Existing Res buildings 100% HP by 2043 | Existing Res buildings 100% heat pumps by 2043 | Residential Equipment | Install 100% electric heat pumps in existing residential buildings by 2043 | 15100000000 | -10400000000 | -600000000 | 4100000000 | 2245000000 | 4523000 | 496.3592 | 325000000 | 14000000000 | 43743 | 5.33% | -187000 | -12496 | -4966 | -49974 | -237179 | s curve | Assumes average of US installs from IEA report: https://www.iea.org/reports/heat-pumps Current ratio is 6% ground to heat pumps (200k to 3.4 million in the US), increased to 10%. Hot water heat pump market is currently 59 in new homes and 5% in existing: https://neea.org/img/documents/Northwest-Heat-Pump-Water-Heater-Initiative-Market-Progress-Evaluation-Report-6.pdf Assume retrofits have slower uptake than new construction | US EIA Updated buildings sector appliances and equipment costs and efficiencies, June 2018. page 29, 'high' values used https://www.eia.gov/analysis/studies/buildings/equipcosts/ | Y
10 | Existing Res buildings 100% HPWH by 2043 | Existing Res buildings 100% HP water heaters by 2043 | Residential Equipment | Install 100% electric hot water heat pumps in new residential buildings by 2043 | 200000000 | -4500000000 | 300000000 | -4000000000 | -303100000 | 4414000 | -68.6682 | 237000000 | 114000000 | 865 | 5.33% | -183000 | -11166 | -5459 | -406 | -670 | s curve |  |  | Y
11 | Existing Com buildings 100% HP by 2043 | Existing Com buildings 100% heat pumps by 2043 | Commercial Buildings | Install 100% electric heat pumps in new commercial buildings by 2043 | 700000000 | -500000000 | -200000000 | 0 | 397000000 | 3055000 | 129.961 | 154000000 | 1400000000 | 3129 | 0% | -126000 | -16494 | -3042 | -5155 | -745 | linear |  |  | Y
12 | Existing Com buildings 100% HPWH by 2043 | Existing Com buildings 50% HP water heater in by 2043 | Commercial Buildings | Install 50% electric hot water heat pumps in new commercial buildings by 2043 | 3900000000 | 500000000 | -100000000 | 4300000000 | 1555400000 | 572000 | 2719.2575 | 19000000 | 23200000 | 18061 | 0% | -24000 | -1689 | -100 | -83 | -99 | linear |  |  | Y
13 | Non-Heating Equip Elec in All Res by 2035 | 100% electric new non-heating equipment sales for all buildings by 2035 | Residential Equipment | 100% new sales electric NON-space/water heating by 2035 in residential buildings | 0 | 80000000 | 0 | 80000000 | 17000000 | 55000 | 309.2469 | 1000000 | 7850000 | medium | 0% | -2000 | -158 | 4 | -28 | -172 | linear | Assume new equipment is the same cost = $0 |  | Y
14 | Non-Heating Equip Elec in All Com by 2035 | 100% electric new non-heating equipment sales for all buildings by 2035 | Commercial Buildings | 100% new sales electric NON-space/water heating by 2035 in commercial buildings | 0 | 50000000 | 0 | 50000000 | 11800000 | 103000 | 114.7802 | 2000000 | 1680000 | medium | 0% | -4000 | -17 | -3 | -6 | -1 | linear | Assume new equipment is the same cost = $0 |  | Y
15 | Non-CPP Ind EE 50% by 2050 | Non-CPP Industrial load energy reduction of 50% by 2050 | Industrial Process | Improve the energy efficiency of industrial facilities not covered by CPP - 50% reduction of energy use by 2050 | 3900000000 | -11900000000 | 0 | -8000000000 | -1197900000 | 10987000 | -109.0281 | 879000000 | 8200000000 | 21089 | 0% | -461000 | -59389 | -50087 | -29379 | -2737 | linear | OLCD Climate-Friendly and Equitable Communities Department of Energy is working to establish the Industrial Technology Innovation Advisory Committee (ITIAC) | Achievable Potential 2019. Scenario B (Unconstrained Potential). After Competition Groups - http://www.ieso.ca/2019-conservation-achievable-potential-study | Y
16 | MD/HD Zero Emission Plan | MD/HD Zero Emission Plan | Medium and Heavy Duty vehicles | Implement the Medium and Heavy Duty Zero Emission Plan by 2035 | 400000000 | -26700000000 | -21700000000 | -48000000000 | -5169100000 | 5419000 | -953.8875 | 238000000 | 208000000 | -77440 | 0% | -228000 | -33829 | 0 | -742 | 0 | linear | Zero-emission truck sales: Manufacturers who certify Class 2b-8 chassis or complete vehicles with combustion engines would be required to sell zero-emission trucks as an increasing percentage of their annual California sales from 2024 to 2035. By 2035, zero-emission truck/chassis sales would need to be 55% of Class 2b – 3 truck sales, 75% of Class 4 – 8 straight truck sales, and 40% of truck tractor sales. Also in line with being more aggressive than the Northeast States for Coordinated Air Use Management brought together fifteen states and the District of Columbia to sign a Multi-State Medium- and Heavy-Duty Zero Emission Vehicle Memorandum of Understanding with a goal of 30 percent zero-emission vehicle sales by 2030 and 100 percent by 2050 - source Medium and Heavy Duty Projections | California Air Resources Board. February 2019. Advanced Clean Truck Work Group Meeting. Stepvan Purchase Price (pg. 21). Projections go to 2030. Price assumed to remain the same from 2030-2050. https://ww2.arb.ca.gov/sites/default/files/2019-02/190225actpres.pdf Electric https://www.tesla.com/semi Daimler electric trucks in this class were $400,000 in 2018 (https://www.trucks.com/2018/12/21/daimler-trucks-delivers-first-electric-freightliner-to-penske/); or Semi is $250,000 (https://evcompare.io/trucks-and-vans/freightliner/freightliner_ecascadia/) Gas/diesel - American Truck Business Services Hydrogen - Hydrogen council. Jan 2020. Reaches cost parity with electric 'prior to 2025'. pg. 32 Assumes cng costs 50% higher than diesel, Transportation Policy Research Center, April 2016, Alternative Fuel Vehicle Forecasts (pg. 42) Alternative Fuel Vehicle Forecasts - https://image-src.bcg.com/Images/A_Realistic_View_of_CNG_Vehicles_in_the_US_Jun_2014_tcm20-84604.pdf | Y
17 | 10% Mode Shift MD to LD | Mode shift 10% from MD to LD in urban counties | Freight Intensity | Transfer 10% of medium duty vehicle miles traveled to light duty/electric micro-mobility in urban counties by 2035 | 2900000 | -1500000000 | 0 | -1497100000 | -719300000 | 595000 | -1208.9459 | 22000000 | 16300000 | -163 | 0% | -25000 | -2628 | 0 | -58 | 0 | linear | ODOT recommendation, 0.18 USD/mile light duty/electric | California Air Resources Board. February 2019. Advanced Clean Truck Work Group Meeting. Stepvan Purchase Price (pg. 21). Projections go to 2030. Price assumed to remain the same from 2030-2050. https://ww2.arb.ca.gov/sites/default/files/2019-02/190225actpres.pdf Electric https://www.tesla.com/semi Daimler electric trucks in this class were $400,000 in 2018 (https://www.trucks.com/2018/12/21/daimler-trucks-delivers-first-electric-freightliner-to-penske/); or Semi is $250,000 (https://evcompare.io/trucks-and-vans/freightliner/freightliner_ecascadia/) Gas/diesel - American Truck Business Services Hydrogen - Hydrogen council. Jan 2020. Reaches cost parity with electric 'prior to 2025'. pg. 32 Assumes cng costs 50% higher than diesel, Transportation Policy Research Center, April 2016, Alternative Fuel Vehicle Forecasts (pg. 42) Alternative Fuel Vehicle Forecasts - https://image-src.bcg.com/Images/A_Realistic_View_of_CNG_Vehicles_in_the_US_Jun_2014_tcm20-84604.pdf Wortmann, C., Syré, A. M., Grahle, A., & Göhlich, D. (2021). Analysis of Electric Moped Scooter Sharing in Berlin: A Technical, Economic and Environmental Perspective. World Electric Vehicle Journal, 12(3), 96. | Y
18 | 10% Micro-mobility by 2035 | 10% micro-mobility share by 2035 | Mode Shift | Implement an electric micro-mobility strategy - Electric bikes: 10% of mode share in Portland Metro and Eugene counties is captured by e-bike use by 2035 | 100000000 | -5000000000 | not estimated | -4900000000 | -2768000000 | 3615000 | -765.7009 | 104000000 | 32900000 | medium-low | 0% | -159000 | -1326 | 0 | -118 | 0 | linear | ODOT Climate Action Plan, 2021; 0.46 $/mile e-bike travelled https://nacto.org/wp-content/uploads/2020/08/2020bikesharesnapshot.pdf | EIA. "Annual Energy Outlook 2021." (2021). https://www.eia.gov/outlooks/aeo/data/browser/#/?id=3-AEO2021&cases=ref2021&sourcekey=0 https://www.oregon.gov/odot/RPTD/RPTD Document Library/Final_Oregon_Passenger_Rail_Service_Development_Plan.pdf
19 | Increase Amtrak Ridership | Expand passenger rail ridership on Amtrak | Expand Rail | Expand Oregon passenger rail - expanding the ridership of Amtrak | 1040000000 | -6000000000 | 38000000 | -4922000000 | -2775900000 | 5497000 | -504.9851 | 148000000 | 50000000 | medium-low | 0% | -242000 | -2059 | 0 | -179 | 0 | linear | ODOT Climate Action Plan, 2021 Oregon State Rail Plan - https://www.oregon.gov/odot/Planning/Documents/Oregon%20State%20Rail%20Plan%202020.pdf Capital Costs $831 million in 2015$ (converted to $1,040 billion in 2022$) between 2026-2035 Operating Costs $30 million in 2015$ (converted to $38 million in $2022) between 2038-2058
20 | Carshare Increases by 2035 | Carshare increases by 2035 | Vehicle Share | Deploy shared vehicles - Car sharing mode increases by 2035, limited to urban counties | 2060000000 | -5400000000 | not estimated | -3340000000 | -1784200000 | 5042000 | -353.867 | 135000000 | 45900000 | medium-low | 0% | -222000 | -1907 | 0 | -164 | 0 | linear | $1.00/mile https://www.vtpi.org/tca/tca0501.pdf Based on Car Sharing Market Analysis https://www.futuremind.com/blog/car-sharing-and-transportation-trends -11% VMT for members of a car share (calculated by taking the average from a study (6-16%) in Maartin and Shaheen, 2016. Applied only to urban areas. Annual growth rate of 16% beginning with 190,483 people. (from US Census- # of people carpooling): https://data.census.gov/cedsci/table?q=B08301&g=0400000US41
21 | Congestion Pricing | Congestion pricing in urban areas resulting in 10% mode shift to transit | Shift to Transit | Implement low emissions zones in urban areas - Congestion pricing achieves a 10% transport mode shift away from private cars to transit in Multnomah, Lane, and Washington counties by 2035 | 627000000 | -2400000000 | 925000000 | -848000000 | -567300000 | 2078000 | -272.9954 | 59000000 | 18700000 | medium-low | 0% | -91000 | -735 | 0 | -67 | 0 | linear | See Increased STS reduction pathway ODOT - Inventory of Connected Vehicles How road pricing is transforming London - https://www.c40knowledgehub.org/s/article/How-road-pricing-is-transforming-London-and-what-your-city-can-learn
22 | Water Systems EE 20% by 2035 | Water system 20% increase in efficiency by 2035 | Water Efficiency | Enhance the efficiency of the water system - 20% efficiency gain in water distribution system energy use by 2035 as water leakage from older systems are fixed | 4000000 | -1800000 |  | 2200000 | 1700000 | 2286000 | 0.73046 | 94000 | 45000 | medium | 0% | -172000 | 0 | 0 | 0 | 0 | linear | Capital Costs 0.16 $/kWh Energy Costs 0.07 $/kWh https://blog.energytrust.org/uncover-hidden-savings-through-municipal-water-system-leak-repair/ Primer on Energy Efficiency for Water and Wastewater Treatment - slide 10 - https://betterbuildingssolutioncenter.energy.gov/sites/default/files/Primer%20on%20energy%20efficiency%20in%20water%20and%20wastewater%20plants_0.pdf STRATEGIES FOR SAVING ENERGY AT PUBLIC WATER SYSTEMS pgs. 9-10 - https://www.epa.gov/sites/default/files/2015-04/documents/epa816f13004.pdf Chapter 2 - Every Drop Counts - https://www.auditor.on.ca/en/content/reporttopics/envreports/env17/Every-Drop-Counts.pdf
23 | Food Waste Program | Food Waste Program 50% diversion by 2030 | Food Waste Program | 50% organics diversion by 2030 and the incorporation of CH4 capture through anaerobic digestion |  |  |  | -24610000 |  | 2572000 | -9393 | 0 | 0 | medium | 0% |  | 0 | 0 | 0 | 0 | linear | EO 20-04 directly lists goal of 50% reduction by 2030 Waste disposal cost - $115.15/ton Residential organics- $77.99/ton For CH4 capture, assume $2 million capital cost and $300,000 per year operating costs per landfill for 8 landfills | https://www.oregonmetro.gov/sites/default/files/2021/07/01/solid-waste-rates-factsheet-effective-07012021.pdf https://www.oregon.gov/deq/EQCdocs/100121_I_LandfillMethane.pdf
24 | Solar on New Buildings | 4 TWh of solar on new buildings by 2035 | Distributed Energy | Increase building integrated solar adoption - 4 TWh of building integrated solar generation Installed new building stock by 2035 | 8500000000 | -10500000000 | 800000000 | -1200000000 | 1199500000 | 2648000 | 453.0012 | 0 | 0 | 8546 | 0% | -126000 | 0 | 0 | 0 | 0 | linear | Using the ratio of facade to roof in the IEA Potential for Building Integrated Photovoltaics study ~25% of the rooftop potential in action 49 can be realized by adding PV to building facades - https://iea-pvps.org/wp-content/uploads/2020/01/rep7_04.pdf | State of Oregon: Energy in Oregon - Oregon Solar Dashboard - https://www.oregon.gov/energy/energy-oregon/Pages/Oregon-Solar-Dashboard.aspx projection past 2019 using trend from 2016 to 2019 Data ¦ Electricity ¦ 2021 ¦ ATB ¦ NREL - https://atb.nrel.gov/electricity/2021/data moderate scenario Economic analysis of BIPV systems as a building envelope material for building skins in Europe, table 5 - https://www.sciencedirect.com/science/article/pii/S0360544220310380 assuming building integrated solar PV is only facade as roof is captured under rooftop solar assuming same rate of decline in price as rooftop assuming 1.09 USD/EURO
25 | Rooftop Solar | 16.3 TWh of rooftop solar by 2035 | Distributed Energy | Enable distributed energy resources - 16.3 TWh of rooftop solar PV generation by 2035 | 39700000000 | -50000000000 | 4100000000 | -6200000000 | 5749200000 | 17757000 | 323.7703 | 0 | 0 | 39703 | 2.95% | -830000 | 0 | 0 | 0 | 0 | linear | NREL has done a study on technical potential rooftop solar that has 9.7 GW on small buildings and 4.4 GW on medium and large buildings, total 14.1GW capacity, total generation 16.3 TWh per year (~ 13% capacity factor). Add 10% for new buildings 2022-2035. - https://drive.google.com/file/d/1BhmeukeICGqfI4DC7AV1nDFdz2Vpx_NQ/view?usp=sharing
26 | Res 25% Energy Storage | 25% of homes with energy storage by 2035 | Storage | Enhance energy storage - Adds storage capability to 25% of residential non-apartment building stock by 2035, assume each storage unit is spec'd to 14 kwh | 25200000000 | 10000000 |  | 25210000000 | 16241400000 | 1900000 | 8548.1124 | 0 | 0 | 25225 | 2.95% | -89000 | 0 | 0 | 0 | 0 | linear | HB 2021 energy based on tesla powerwall specs - https://www.tesla.com/sites/default/files/pdfs/powerwall/Powerwall%202_AC_Datasheet_en_northamerica.pdf | Data ¦ Electricity ¦ 2021 ¦ ATB ¦ NREL - https://atb.nrel.gov/electricity/2021/data moderate scenario Residential Storage - assumes 13.5 kWh similar to Tesla powerwall Commercial Storage - 6 hr. battery storage
27 | Backup Battery Storage | 100% of diesel backup power replaced with electric battery storage by 2035 | Storage | Ensure backup power is clean - 100% diesel backup is replaced by electric battery storage by 2035 | 6400000000 | -1400000000 |  | 5000000000 | 4112600000 | 482000 | 8532.4686 | 0 | 0 | 6392 | 2.95% | -23000 | 0 | 0 | 0 | 0 | linear
29
23 | SSG Version | Food Waste Program 50% diversion by 2030 | Food Waste Program | 50% organics diversion by 2030 and the incorporation of CH4 capture through anaerobic digestion | -96000000 |  | 6000000 | -90000000 | #REF! | #REF! | #REF! | SSG Version |  |  |  | -1602000
Insufficient Data
|  | 100% of new buses are EVs by 2035 | Transit Electrification | Ensure transit agencies are net zero - 50% new bus sales by 2030 and 100% new by 2035 |  | -12300000000 | -193000000 | -12493000000 |  | 3694000 |  | 145000000 | 74000000 | -789 | 0% | -153000 | -22721.91 | 0 | -264.7 | 0 | linear | We do not have a stock of transit buses by county so cannot apply costs to this action ODOT Climate Action Plan, 2021 Net Zero Pilot RFP in development. Note that this pilot will only include a small handful of small/rural providers and is not intended to create a pathway for all Oregon transit agencies to achieve net-zero emissions. The pilot will hopefully result in additional guidance for non-participating providers to reference. One size will not fit all providers. | Horrox, J., Casale, M. Electric Buses in America: Lessons from Cities Pioneering Clean Transportation. US Public Interest Research Group Education Fund. 2019. Infrastructure costs - "Electric Buses in Cities Driving Towards Cleaner Air and Lower CO2 March 29, 2018", Table 8: Associated cost comparison for electric buses | Y
|  | 50% of off-road vehicle sales are EVs by 2035 | Commercial Vehicles | Ensure off-road vehicles are zero emissions - 50% of new vehicle sales are electric by 2035 (including farm, forestry, construction and recreational vehicles) | [5 empty] | 1273000 |  | 35000000 | 0 |  | 0% | -53000 | 0 | 0 | 0 | 0 | linear | Keeping in line with Medium and Heavy Duty sales assumption above
|  | 70% industrial electrification by 2050 | Electricity | Deploy electricity in industries - 70% Electricity adoption by 2050 |  |  |  | 0 |  | 10129000 |  | 0 | 602000000 | medium | 2.95% | -418000 | -58102 | -75489 | -2154 | -1545 | linear | matching transition to ambition of hydrogen adoption in the Hybrid scenario | EIA. "Annual Energy Outlook 2021." (2021). https://www.eia.gov/outlooks/aeo/data/browser/#/?id=3-AEO2021&cases=ref2021&sourcekey=0 | Y
Note on F5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assume same cost therefore $0 additional capital needed
Note on I16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost = Savings = $0
Note on F18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assume new equipment is the same cost = $0
Note on F19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assume new equipment is the same cost = $0
Note on I28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: From DEQ "Foodwaste GHG estimated by DEQ" spreadsheet
Note on K28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: From DEQ "Foodwaste GHG estimated by DEQ" spreadsheet
Note on L28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: From DEQ "Foodwaste GHG estimated by DEQ" spreadsheet

## Elect NPV&MAC
NPV of Net Cost/Benefits and MAC
[17 empty] | 5511621863 |  |  | -3158496214
Electrification
# | Model Identifier | Description | Category | NPV of Net Cost/Benefit (discounted at 3%) | Cumulative Emissions Reduction (KTCO2e) | Marginal Abatement Cost ($ /MTCO2e) | resBldgCap | resBldgOM | resEquipCap | resEquipOM | persUseVehCap | persUseVehOM | resFuel | resEmissions | persUseVehFuel | persUseVehEmissions | comBldgCap | comBldgOM | comEquipCap | comEquipOM | comUseVehCap | comUseVehOM | nonResFuel | nonResEmissions | comUseVehFuel | comUseVehEmissions | energyProdCap | energyProdOM | energyProdFuel | energyProdEmissions | municipalLandUseCap | municipalLandUseOM | municipalOtherInfraCap | municipalOtherInfraOM | municipalFuel | municipalEmissions | carbonCapture | energyProdRevenue | transitRevenue | Extra Costs
1 | LC 1.01.01 - Act 68 Reduce the floor area of new homes | Reduce the floor area of new homes | Residential Buildings | -7320916906 | 1718 | -4261.302 | 0 | -5852548463 | 0 | 0 | 0 | 0 | -1468368443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | LC 1.01.02 - Act 68 shift to higher density residences in urban zones with fin | Reduced SF | Residential Buildings | -20906542929 | 1315 | -15898.5117 | -15987979057 | -3719472145 | -28276644 | -8575823 | 0 | 0 | -1162239260 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | LC 1.02.01 - Act 99 Require new res buildings to use 60% less energy | New Res Building Codes | Residential Buildings | -499311556 | 8044 | -62.0725 | 2734695054 | 0 | 2293705266 | 108443303 | 0 | 0 | -5636155179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | LC 1.02.02 - Act 99 Require new com buildings to use 60% less energy | New Com Building Codes | Non-Residential Buildings | 2353125649 | 11751 | 200.249 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3950690766 | 0 | 1560931097 | -252422557 | 0 | 0 | -2906073657 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | LC 1.03.01 - Act 62 Install electric heat pumps for new residential buildings and manufactured homes - heating step 3 | Heat pumps New Res | Residential Equipment | 193981951 | 10182 | 19.0515 | 0 | 0 | 4108536836 | -67140260 | 0 | 0 | -3847414625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6A | LC 1.03.05 - Act 63 Install electric heat pumps for new commercial buildings - cooling system efficiency with fin | Heat pumps New Com | Non-Residential Equipment | 33552708 | 3988 | 8.4134 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40611544 | -232387689 | 0 | 0 | 225328853 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6B | LC 1.03.07 - Act 63 Install electric heat pumps for new commercial buildings - water heating systems efficiency with fin | Water heaters New Com | Non-Residential Equipment | 175512266 | 378 | 464.3182 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94025043 | -4321524 | 0 | 0 | 85808747 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| COMBINED TOTAL |  |  | 209064974 | 4366 | 47.8848
7 | LC 1.04.01 - Act 61 Implement a GHG performance requirement of existing res buildings with fin | Retrofits res | Residential Buildings | 14265669406 | 16610 | 858.8603 | 24777629876 | 0 | 118078938 | 128646187 | 0 | 0 | -10758685595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | LC 1.04.02 - Act 61 Implement a GHG performance requirement of existing com buildings with fin | Retrofits com | Non-Residential Buildings | 10356311056 | 17791 | 582.1096 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19960575399 | 0 | -88546116 | -652925146 | 0 | 0 | -8862793081 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | LC 1.06.01 - Act 62 Install electric heat pumps for nonRetrofit residential buildings and manufactured homes - heating | Heat pumps Existing Res | Residential Equipment | 2245032770 | 4523 | 496.3592 | 0 | 0 | 3691641559 | -73688325 | 0 | 0 | -1372920464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | LC 1.06.02 - Act 62 Install electric heat pumps for nonRetrofit residential buildings and manufactured homes - water heating | Water heating Existing Res | Residential Equipment | -303101277 | 4414 | -68.6682 | 0 | 0 | 40094904 | 32178005 | 0 | 0 | -375374186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | LC 1.06.06 - Act 63 Install electric heat pumps for nonRetrofit commercial buildings - cooling system efficiency with fin | Heat pumps Existing Com | Non-Residential Equipment | 397030880 | 3055 | 129.961 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 281591032 | -18523492 | 0 | 0 | 133963340 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | LC 1.06.08 - Act 63 Install electric heat pumps for nonRetrofit commercial buildings - water heating systems efficiency with fin | Water heating Existing Com | Non-Residential Equipment | 1555415306 | 572 | 2719.2575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1435961965 | -8904680 | 0 | 0 | 128358021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | LC 1.06.03 - Act 69 Electrify non space-heating/water uses of fossil fuels in res buildings | Phase out NG appliances res | Residential Equipment | 17008579 | 55 | 309.2469 | 0 | 0 | 0 | 0 | 0 | 0 | 17008579 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | LC 1.06.09 - Act 69 Electrify non space-heating/water uses of fossil fuels in com buildings | Phase out NG appliances Com | Non-Residential Equipment | 11822365 | 103 | 114.7802 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11822365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | LC 1.07.01 - Act 13 Improve the energy efficiency of industrial facilities not covered by CPP | Industrial Process | Industrial Process | -1197891533 | 10987 | -109.0281 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1202872681 | 0 | 0 | 0 | -2400764214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | LC 1.10.03 - Act 15 medium and heavy duty zero emission plan with fin | Medium and Heavy Duty vehicles | Medium and Heavy Duty vehicles | -5169116365 | 5419 | -953.8875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66941110 | 0 | 47866550 | -2323531416 | 0 | 0 | -2960392609 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | LC 1.10.05 - Act 34 Implement a strategy on regional freight and micromobility last mile delivery | Freight intensity | Commercial Vehicles | -719322824 | 595 | -1208.9459 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7408740 | -334816289 | 0 | 0 | -379412461 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2314666
18 | LC 1.15.03 - Act 31 Implement an electric micro-mobility strategy | Micro-Mobility | Personal Vehicles | -2768008582 | 3615 | -765.7009 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2842953441 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74944859
19 | LC 1.15.01 - Act 24 Expand Oregon passenger rail | Mode shift rail | Expand Rail | -2775903200 | 5497 | -504.9851 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3682288500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 906385300
20 | LC 1.15.02 - Act 30 Deploy shared vehicles | Shared vehicles | Vehicle Share | -1784197549 | 5042 | -353.867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3355037763 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1570840214
21 | LC 1.16.01 - Act 33 Implement low emissions zones in urban areas | Mode shift | Shift to Transit | -567284533 | 2078 | -272.9954 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1450072417 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882787884
22 | LC 1.17.01 - Act 46 Enhance the efficiency of the water system | Water savings | Water Efficiency | 1669838 | 2286 | 0.73046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1669838
23 | LC 1.17.03 - Act 4 organics diversion 2030 | Organics reduction | Waste Reduction | -73007914 | 19607 | -3.7236 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -73007914
24 | LC 1.18.01 - Act 43 Increase building integrated solar adoption | Integrated solar PV | Local Solar | 1199547267 | 2648 | 453.0012 | 0 | 0 | 0 | 0 | 0 | 0 | -2024455673 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3357168042 | 0 | 0 | 0 | 6141442081 | 439728901 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | LC 1.18.03 - Act 49 Enable distributed energy resources - enabling HB2021 | Rooftop solar PV | Local Solar | 5749189578 | 17757 | 323.7703 | 0 | 0 | 0 | 0 | 0 | 0 | -10098245088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -16398336919 | 0 | 0 | 0 | 30011382712 | 2234388873 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | LC 1.18.04 - Act 58 Enhance energy storage | Solar Storage | Local Solar | 16241413579 | 1900 | 8548.1124 | 0 | 0 | 0 | 0 | 0 | 0 | -1110940396 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1718757769 | 0 | 0 | 0 | 19071111744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | LC 1.18.05 - Act 64 Ensure back-up power is clean - replacing diesel backup generators with battery storage | Backup Storage | Local Solar | 4112649867 | 482 | 8532.4686 | 0 | 0 | 0 | 0 | 0 | 0 | -262670073 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -457314896 | 0 | 0 | 0 | 4832634836 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insufficient Data
| LC 1.10.04 - Act 23 bus zero emission plan with fin | ZEV transit | Transit Electrification |  | 3694 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7443616 | 0 | -4859023209 | 0 | 0 | 0 | 0 | 6174165024
| LC 1.10.06 - Act 36 Ensure off-road vehicles are zero emissions | Off Road | Commercial Vehicles |  | 1273 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| LC 1.08.01 - Act 12 Deploy green electricity in industries not covered by CPP | Green electricity industry | Industrial Electrification |  | 10129 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2586091966 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Hybrid Data
TIGHGER Actions Data by Scenario - HYBRID
| (Differences between the scenarios are highlighted in red) |  |  |  | 122881900000 | -227541800000 | -51917000000 | -156570410000 |  | 178824000 |  | 5602094000 | 63441665000 | 284469 | An individual or family is considered energy burdened if they spend 6% or more of their income on energy costs.
| HYBRID |  |  |  | Cumulative Capital Cost | Cumulative Energy Savings | Cumulative O&M Savings | Cumulative Net Cost/Benefit | NPV of Net Cost/Benefit (discounted at 3%) | Cumulative GHG Emission Reductions | Marginal Abatement Cost | Cumulative Energy Reductions | Cumulative Health Cost Benefits | Person Years of Employment | Percentage of Energy Burdened Households (2050) | Social Cost of Carbon | NO2 | SO2 | PM25 | VOC | Projection Method | MAC Curve Ranking | Data Assumption Source | Financial Assumption Source | Includes CPP adjustment
# | Title | Description | Category | Action | ($) | ($) | ($) | ($) | ($) | (MTCO2) | ($/MTCO2) | MMBTU | ($) | # | % |  | Mton | Mton | Mton | Mton |  | (#)
1 | Reduced Res Floor Area | Reduced residential floor area | Residential Buildings | Reduce the floor area of new homes | 0 | -3600000000 | -14400000000 | -18000000000 | -7320900000 | 1718000 | -4261.302 | 57000000 | 1962900000 | 0 | 16.16% | -153000 | -1452 | -445 | -5112 | -24220 | linear |  | DEQ MM has done work in this space, ongoing work includes HB 2001 and others. Recommendation: apply to both new and existing construction. Suggested actions to include in analysis: increase middle missing housing, limit size of newly constructed housing, increase occupancy of existing housing through conversions and/or ADUs The intent of HB 2001 is make the development of middle housing types equally as feasible as single-family dwellings According to US research, average home sizes have almost doubled since 1950, and family sizes have decreased (see 2012 Oregon Department of Environmental Quality's presentation on the environmental benefits of smaller housing and related policies to achieve smaller housing; See also best practice advice on Encouraging Development of Smaller Homes from USDN, municipal experts from across the US & Canada) | Cummings Insights, Construction Market Analysis 2021 downloaded Feb 2022 https://ccorpinsights.com/costs-per-square-foot/
2 | Higher Urban Res Density | Higher urban residential density | Residential Buildings | Shift to higher density residences in urban zones | -27500000000 | -2800000000 | -9000000000 | -39300000000 | -20906500000 | 1315000 | -15898.5117 | 43000000 | 875000000 | -149677 | 16.16% | -112000 | -967 | -258 | -2414 | -11372 | linear
3 | Res Code Reduction 60% by 2030 | Residential energy code reduction of 60% by 2030 | Residential Buildings | Require new res buildings to use 60% less energy than base year by 2030 | 7900000000 | -13500000000 | 300000000 | -5300000000 | -499300000 | 8044000 | -62.0725 | 230000000 | 2669000000 | 38162 | 16.16% | -677000 | -5629 | -1925 | -7790 | -36109 | step |  | HB 2496 - pg. 29 OGWC 2020 Biennial Report | extrapolated from Internal building energy model analysis of envelope improvement measures using CanmetENERGY's HTAP platform
4 | Com Code Reduction 60% by 2031 | Commercial energy code reduction of 60% by 2030 | Commercial Buildings | Require new com buildings to use 60% less energy than base year by 2030 | 9600000000 | -8230000000 | -710000000 | 700000000 | 2353100000 | 11751000 | 200.249 | 458000000 | 550640000 | 52821 | 0% | -786000 | -8197 | -511 | -1575 | -379 | step |  |  | https://www.cagbc.org/news-resources/research-and-reports/making-the-case-for-zero-carbon-building/, p. 18 note: more detailed extrapolations by region could be made in future if deemed necessary Other was determined as being the mid point between highest and lowest category
5 | HP/WH in New Com by 2025 | Efficient heat pumps and water heaters in 100% of new homes by 2025 | Residential Equipment | Install 100% electric/natural gas heat pumps and water heat pumps in new residential buildings by 2025 | 9300000000 | -10400000000 | 600000000 | -500000000 | 623700000 | 4269000 | 146.0891 | 158000000 | 11596000000 | 42485 | 12.74% | -187000 | -4525 | -3133 | -31803 | -151737 | s curve |  | Assumes average of US installs from IEA report: https://www.iea.org/reports/heat-pumps Current ratio is 6% ground to heat pumps (200k to 3.4 million in the US), increased to 10%. Hot water heat pump market is currently 59 in new homes and 5% in existing: https://neea.org/img/documents/Northwest-Heat-Pump-Water-Heater-Initiative-Market-Progress-Evaluation-Report-6.pdf Assume retrofits have slower uptake than new construction | US EIA Updated buildings sector appliances and equipment costs and efficiencies, June 2018. page 29, 'high' values used https://www.eia.gov/analysis/studies/buildings/equipcosts/
6A | HP/WH in New Res by 2025 | Efficient heat pumps and water heaters in 100% of new homes and businesses by 2025 | Commercial Buildings | Install 100% electric/natural gas heat pumps in new commercial buildings by 2025 | 48000000 | -300000000 | -100000000 | -400000000 | -145200000 | 679000 | -213.8388 | 37000000 | 1464100000 | 221 | 0% | -74000 | -10403 | -4609 | -5076 | -368 | linear
6B |  | Efficient heat pumps and water heaters in 100% of new homes and businesses by 2025 | Commercial Buildings | Install 50% electric/natural gas hot water heat pumps in new commercial buildings by 2025 | 300000000 | -90000000 | 330000000 | 500000000 | 199600000 | 444000 | 449.4519 | 5000000 | 6000000 | 1521 | 0% | -40000 | -443 | -343 | -14 | -27 | linear
7 | Wz in Existing R&C by 2040 | Retrofit 95% of existing Res buildings reducing energy use by 50% by 2040 | Residential Buildings | Retrofit 95% of existing buildings by 2040 - achieve a 50% reduction in space conditioning and non space conditioning energy use | 50700000000 | -60000000000 | 700000000 | -8600000000 | 13950300000 | 19578000 | 712.5502 | 1115000000 | 15949000000 | 168357 | 9.13% | -882000 | -21795 | -8123 | -83680 | -396947 | s curve |  | Reduction Potential from: - State and Local Energy Efficiency Action Network - 2019 Achievable Potential Study - Office of Energy Efficiency and Renewable Energy - United States Building Energy Efficiency Retrofits - NREL Buildings - Boston Building Emissions Performance Standard - Miscellaneous Electric Loads: Characterization and Energy Savings Potential | https://www.pembina.org/docs/event/netzeroforum-backgrounder-2016.pdf, Table 2 based on above source and extrapolated to specific ranges | Y
8 | Wz in Existing Com by 2040 | Retrofit 95% of existing Com buildings reducing energy use by 50% by 2040 | Commercial Buildings | Retrofit 95% of existing buildings by 2040 - achieve a 50% reduction in space conditioning and non space conditioning energy use | 40400000000 | -60300000000 | -4700000000 | -24600000000 | 9493100000 | 21128000 | 449.3125 | 1170000000 | 2234900000 | 122917 | 0% | -953000 | -40144 | -5894 | -11862 | -1857 | s curve |  |  |  | Y
9 | Existing Res buildings 100% HP by 2045 | Existing Res buildings 100% heat pumps by 2043 | Residential Equipment | Install 100% electric/natural gas heat pumps in existing residential buildings by 2043 | 19700000000 | -13300000000 | 1000000000 | 7400000000 | 3690400000 | 2740000 | 1346.8506 | 267000000 | 14984000000 | 57005 | 5.33% | -125000 | -6611 | -5388 | -53782 | -256840 | s curve |  | Assumes average of US installs from IEA report: https://www.iea.org/reports/heat-pumps Current ratio is 6% ground to heat pumps (200k to 3.4 million in the US), increased to 10%. Hot water heat pump market is currently 59 in new homes and 5% in existing: https://neea.org/img/documents/Northwest-Heat-Pump-Water-Heater-Initiative-Market-Progress-Evaluation-Report-6.pdf Assume retrofits have slower uptake than new construction | US EIA Updated buildings sector appliances and equipment costs and efficiencies, June 2018. page 29, 'high' values used https://www.eia.gov/analysis/studies/buildings/equipcosts/ | Y
10 | Existing Res buildings 100% HPWH by 2045 | Existing Res buildings 100% HP water heaters by 2043 | Residential Equipment | Install 100% electric/natural gas hot water heat pumps in new residential buildings by 2043 | 100000000 | -3400000000 | 300000000 | -3000000000 | -253900000 | 4470000 | -56.8096 | 174000000 | 207000000 | 643 | 0% | -232000 | -8446 | -4898 | -343 | -337 | s curve |  |  |  | Y
11 | Existing Com buildings 100% HP by 2045 | Existing Com buildings 100% heat pumps by 2043 | Commercial Buildings | Install 100% electric/natural gas heat pumps in new commercial buildings by 2043 | 300000000 | -1600000000 | 500000000 | -800000000 | -140400000 | 2813000 | -49.9282 | 152000000 | 628380000 | 1580 | 0% | -130000 | -14211 | -3006 | -5457 | -594 | linear |  |  |  | Y
12 | Existing Com buildings 100% HPWH by 2045 | Existing Com buildings 50% HP water heater in by 2043 | Commercial Buildings | Install 50% electric/natural gas hot water heat pumps in new commercial buildings by 2043 | 1700000000 | -400000000 | -100000000 | 1200000000 | 699000000 | 617000 | 1132.8828 | 23000000 | 13000000 | 7937 | 0% | -29000 | -930 | 7 | -45 | -54 | linear |  |  |  | Y
13 | Non-CPP Ind EE 50% by 2052 | Non-CPP Industrial load energy reduction of 50% by 2050 | Industrial Process | Improve the energy efficiency of industrial facilities not covered by CPP - 50% reduction of energy use by 2050 | 3900000000 | -11900000000 |  | -8000000000 | -1570600000 | 13621000 | -115.3107 | 879000000 | 9807900000 | 21089 | 0% | -662000 | -59389 | -50087 | -29379 | -2737 | linear |  | OLCD Climate-Friendly and Equitable Communities Department of Energy is working to establish the Industrial Technology Innovation Advisory Committee (ITIAC) | Achievable Potential 2019. Scenario B (Unconstrained Potential). After Competition Groups - http://www.ieso.ca/2019-conservation-achievable-potential-study | Y
14 | MD/HD Zero Emission Plan & 10% FCEV | MD/HD Zero Emission Plan | Medium and Heavy Duty vehicles | Implement the Medium and Heavy Duty Zero Emission Plan by 2035, 10% FCEV | 600000000 | -26100000000 | -26500000000 | -52000000000 | -10411800000 | 12337000 | -843.9458 | 295000000 | 259000000 | -89701 | 0% | -577000 | -49943 | 0 | -1108 | 0 | linear |  | Zero-emission truck sales: Manufacturers who certify Class 2b-8 chassis or complete vehicles with combustion engines would be required to sell zero-emission trucks as an increasing percentage of their annual California sales from 2024 to 2035. By 2035, zero-emission truck/chassis sales would need to be 55% of Class 2b – 3 truck sales, 75% of Class 4 – 8 straight truck sales, and 40% of truck tractor sales. Also in line with being more aggressive than the Northeast States for Coordinated Air Use Management brought together fifteen states and the District of Columbia to sign a Multi-State Medium- and Heavy-Duty Zero Emission Vehicle Memorandum of Understanding with a goal of 30 percent zero-emission vehicle sales by 2030 and 100 percent by 2050 - source Medium and Heavy Duty Projections | California Air Resources Board. February 2019. Advanced Clean Truck Work Group Meeting. Stepvan Purchase Price (pg. 21). Projections go to 2030. Price assumed to remain the same from 2030-2050. https://ww2.arb.ca.gov/sites/default/files/2019-02/190225actpres.pdf Electric https://www.tesla.com/semi Daimler electric trucks in this class were $400,000 in 2018 (https://www.trucks.com/2018/12/21/daimler-trucks-delivers-first-electric-freightliner-to-penske/); or Semi is $250,000 (https://evcompare.io/trucks-and-vans/freightliner/freightliner_ecascadia/) Gas/diesel - American Truck Business Services Hydrogen - Hydrogen council. Jan 2020. Reaches cost parity with electric 'prior to 2025'. pg. 32 Assumes cng costs 50% higher than diesel, Transportation Policy Research Center, April 2016, Alternative Fuel Vehicle Forecasts (pg. 42) Alternative Fuel Vehicle Forecasts - https://image-src.bcg.com/Images/A_Realistic_View_of_CNG_Vehicles_in_the_US_Jun_2014_tcm20-84604.pdf | Y
15 | 10% Mode Shift MD to LD | Mode shift 10% from MD to LD in urban counties | Freight Intensity | Transfer 10% of medium duty vehicle miles traveled to light duty/electric micro-mobility in urban counties by 2035 | 2900000 | -1600000000 | -1500000000 | -3100000000 | -797100000 | 588000 | -1355.6587 | 22000000 | 16300000 | -185 | 0% | -25000 | -2342 | 0 | -52 | 0 | linear |  | ODOT recommendation | California Air Resources Board. February 2019. Advanced Clean Truck Work Group Meeting. Stepvan Purchase Price (pg. 21). Projections go to 2030. Price assumed to remain the same from 2030-2050. https://ww2.arb.ca.gov/sites/default/files/2019-02/190225actpres.pdf Electric https://www.tesla.com/semi Daimler electric trucks in this class were $400,000 in 2018 (https://www.trucks.com/2018/12/21/daimler-trucks-delivers-first-electric-freightliner-to-penske/); or Semi is $250,000 (https://evcompare.io/trucks-and-vans/freightliner/freightliner_ecascadia/) Gas/diesel - American Truck Business Services Hydrogen - Hydrogen council. Jan 2020. Reaches cost parity with electric 'prior to 2025'. pg. 32 Assumes cng costs 50% higher than diesel, Transportation Policy Research Center, April 2016, Alternative Fuel Vehicle Forecasts (pg. 42) Alternative Fuel Vehicle Forecasts - https://image-src.bcg.com/Images/A_Realistic_View_of_CNG_Vehicles_in_the_US_Jun_2014_tcm20-84604.pdf | Y
16 | 10% Micro-mobility by 2037 | 10% micro-mobility share by 2035 | Mode Shift | Implement an electric micro-mobility strategy - Electric bikes: 10% of mode share in Portland Metro and Eugene counties is captured by e-bike use by 2035 | 100000000 | -5300000000 | not estimated | -5200000000 | -2904500000 | 3607000 | -805.2352 | 108000000 | 32900000 | medium-low | 0% | -158000 | -1336 | 0 | -118 | 0 | linear |  | ODOT Climate Action Plan, 2021; 0.46 $/mile e-bike travelled https://nacto.org/wp-content/uploads/2020/08/2020bikesharesnapshot.pdf | EIA. "Annual Energy Outlook 2021." (2021). https://www.eia.gov/outlooks/aeo/data/browser/#/?id=3-AEO2021&cases=ref2021&sourcekey=0 https://www.oregon.gov/odot/RPTD/RPTD Document Library/Final_Oregon_Passenger_Rail_Service_Development_Plan.pdf
17 | Increase Amtrak Ridership | Expand passenger rail ridership on Amtrak | Expand Rail | Expand Oregon passenger rail - expanding the ridership of Amtrak | 1040000000 | -6200000000 | 38000000 | -5100000000 | -2916400000 | 5488000 | -531.4136 | 153000000 | 50000000 | medium-low | 0% | -241000 | -2073 | 0 | -180 | 0 | linear |  | ODOT Climate Action Plan, 2021 Oregon State Rail Plan - https://www.oregon.gov/odot/Planning/Documents/Oregon%20State%20Rail%20Plan%202020.pdf Capital Costs $831 million in 2015$ (converted to $1,040 billion in 2022$) between 2026-2035 Operating Costs $30 million in 2015$ (converted to $38 million in $2022) between 2038-2058
18 | Carshare Increases by 2037 | Carshare increases by 2035 | Vehicle Share | Deploy shared vehicles - Car sharing mode increases by 2035, limited to urban counties | 2060000000 | -5700000000 | not estimated | -3600000000 | -1910800000 | 5034000 | -379.5731 | 139000000 | 45900000 | medium-low | 0% | -221000 | -1920 | 0 | -165 | 0 | linear |  | $1.00/mile https://www.vtpi.org/tca/tca0501.pdf Based on Car Sharing Market Analysis https://www.futuremind.com/blog/car-sharing-and-transportation-trends -11% VMT for members of a car share (calculated by taking the average from a study (6-16%) in Maartin and Shaheen, 2016. Applied only to urban areas. Annual growth rate of 16% beginning with 190,483 people. (from US Census- # of people carpooling): https://data.census.gov/cedsci/table?q=B08301&g=0400000US41
19 | Congestion Pricing | Congestion pricing in urban areas resulting in 10% mode shift to transit | Shift to Transit | Implement low emissions zones in urban areas - Congestion pricing achieves a 10% transport mode shift away from private cars to transit in Multnomah, Lane, and Washington counties by 2035 | 627000000 | -2500000000 | 925000000 | -948000000 | -628700000 | 2073000 | -303.2991 | 61000000 | 18700000 | medium-low | 0% | -91000 | -740 | 0 | -67 | 0 | linear |  | See Increased STS reduction pathway ODOT - Inventory of Connected Vehicles How road pricing is transforming London - https://www.c40knowledgehub.org/s/article/How-road-pricing-is-transforming-London-and-what-your-city-can-learn
20 | Water Systems EE 20% by 2037 | Water system 20% increase in efficiency by 2035 | Water Efficiency | Enhance the efficiency of the water system - 20% efficiency gain in water distribution system energy use by 2035 as water leakage from older systems are fixed | 4000000 | -1800000 | not estimated | 2200000 | 1700000 | 2286000 | 0.73046 | 94000 | 45000 | medium | 0% | -172000 | 0 | 0 | 0 | 0 | linear |  | Capital Costs 0.16 $/kWh Energy Costs 0.07 $/kWh https://blog.energytrust.org/uncover-hidden-savings-through-municipal-water-system-leak-repair/ Primer on Energy Efficiency for Water and Wastewater Treatment - slide 10 - https://betterbuildingssolutioncenter.energy.gov/sites/default/files/Primer%20on%20energy%20efficiency%20in%20water%20and%20wastewater%20plants_0.pdf STRATEGIES FOR SAVING ENERGY AT PUBLIC WATER SYSTEMS pgs. 9-10 - https://www.epa.gov/sites/default/files/2015-04/documents/epa816f13004.pdf Chapter 2 - Every Drop Counts - https://www.auditor.on.ca/en/content/reporttopics/envreports/env17/Every-Drop-Counts.pdf
21 | Food Waste Program | Food Waste Program 50% diversion by 2030 | Food Waste Program | 50% organics diversion by 2030 and the incorporation of CH4 capture through anaerobic digestion |  |  |  | -24610000 |  | 2572000 | -9393 | 0 | 0 | medium | 0% | -1602000 | 0 | 0 | 0 | 0 | linear |  | EO 20-04 directly lists goal of 50% reduction by 2030 Waste disposal cost - $115.15/ton Residential organics- $77.99/ton For CH4 capture, assume $2 million capital cost and $300,000 per year operating costs per landfill for 8 landfills | https://www.oregonmetro.gov/sites/default/files/2021/07/01/solid-waste-rates-factsheet-effective-07012021.pdf https://www.oregon.gov/deq/EQCdocs/100121_I_LandfillMethane.pdf
22 | Ind RH2 70% by 2050 | 70% Green hydrogen in industry by 2050 | Hydrogen | Deploy green hydrogen in industries - 70% Hydrogen adoption by 2050 |  | 7080000000 |  | 7100000000 | 1960000000 | 18863000 | 10.5485 | 0 | low (2) | medium-low | 0% | -927000 | -58102 | -75489 | -2154 | -1545 | linear |  | The Department of Energy is launching major clean hydrogen initiatives of the Bipartisan Infrastructure Law The green hydrogen economy Predicting the decarbonization agenda of tomorrow - https://www.pwc.com/gx/en/industries/energy-utilities-resources/future-energy/green-hydrogen-cost.html | Bartlett, J. and Krupnick, A. Decarbonized Hydrogen in the US Power and Industrial Sectors: Identifying and Incentivizing Opportunities to Lower Emissions. 2020. Figure 9. Averages of renewable H2 production. https://www.rff.org/publications/reports/decarbonizing-hydrogen-us-power-and-industrial-sectors/ IEA, "Hydrogen production costs by production source, 2018", IEA, Paris https://www.iea.org/data-and-statistics/charts/hydrogen-production-costs-by-production-source-2018 High end of production costs for renewables, assume energy density of H2 is 130 MJ / kg IEA analysis finds that the cost of producing hydrogen from renewable electricity could fall 30% by 2030 as a result of declining costs of renewables and the scaling up of hydrogen production | Y
23 | RNG Full Potential by 2050 | Use full potential of RNG 47.5 TBtus by 2050 | RNG | Use full RNG potential of 47.5 tBTU by 2050 |  | 5400000000 |  | 5400000000 | 1628300000 | 22617000 | 71.9963 | 0 | 0 | medium-low | 0% | -1011000 | 0 | 0 | 0 | 0 | linear |  | https://edocs.puc.state.or.us/efdocs/HAC/um2178hac10454.pdf pg. 30 minus P2G/Methanation and downscaled to the stage of Oregon by population | EPA. An overview of renewable natural gas from biogas. 2020. pg. 28. Average of mass scale and small scale production costs. https://www.epa.gov/sites/production/files/2020-07/documents/lmop_rng_document.pdf | Y
24 | RH2 Injection 15% by 2035 | 15% hydrogen injection into pipeline by 2035 | Hydrogen | New round of standards for appliances and equipment beyond those codified in 2021 - 15% hydrogen injected into the natural gas distribution system by 2035 | 0 | 1400000000 | 0 | 1400000000 | 455700000 | 6763000 | 67.3754 | 56000000 | low (2) | medium-low | 0% | -297000 | 0 | 0 | 0 | 0 | linear |  | Up to 15% hydrogen can be injected into the natural gas distribution system without ill effects - https://networks.online/gas/could-hydrogen-piggyback-on-natural-gas-infrastructure/ NREL - Blending Hydrogen into Natural Gas Pipeline Networks - https://www.nrel.gov/docs/fy13osti/51995.pdf Assume costs Hydrogen appliances are negligible | Bartlett, J. and Krupnick, A. Decarbonized Hydrogen in the US Power and Industrial Sectors: Identifying and Incentivizing Opportunities to Lower Emissions. 2020. Figure 9. Averages of renewable H2 production. https://www.rff.org/publications/reports/decarbonizing-hydrogen-us-power-and-industrial-sectors/ IEA, "Hydrogen production costs by production source, 2018", IEA, Paris https://www.iea.org/data-and-statistics/charts/hydrogen-production-costs-by-production-source-2018 High end of production costs for renewables, assume energy density of H2 is 130 MJ / kg IEA analysis finds that the cost of producing hydrogen from renewable electricity could fall 30% by 2030 as a result of declining costs of renewables and the scaling up of hydrogen production | Y
25 | Home Fuel Cells 5% by 2030 | 5% of homes with fuel cells by 2030 | Hydrogen | Deploy clean hydrogen fuel cells for homes - 5% of homes will have hydrogen fuel cell by 2030 | 2000000000 | -4200000000 | 400000000 | -1800000000 | -69900000 | 3409000 | -20.5086 | 0 | 71000000 | 9294 | 0% | -154000 | -4810 | -2186 | -1147 | -4381 | s curve |  | Japan has a target of 10% of homes to have a hydrogen fuel cell by 2030. Assuming a lower penetration rate as US is farther behind H2 infrastructure than Japan On the Ground in Japan: Residential Fuel Cells – Ammonia Energy Association - https://www.ammoniaenergy.org/articles/on-the-ground-in-japan-residential-fuel-cells/ hydrogen fuel cell details - https://news.panasonic.com/press/global/data/2021/10/en211001-4/en211001-4.html |  | Y
[10 empty] | Jobs | 22 | Ind RH2 70% by 2050 |  | medium-low | Depends on the source/location of the Renewable Hydrogen. Assume most produced out of state, so medium-low.
[11 empty] | 23 | RNG Full Potential by 2050 |  | medium-low | Depends on source/location of RNG production. Only 1/3 of potential is from OR, so medium-low.
[11 empty] | 24 | RH2 Injection 15% by 2035 |  | medium-low | Depends on the source/location of the Renewable Hydrogen. Assume most produced out of state, so medium-low.
[9 empty] | Health | 22 | Ind RH2 70% by 2050 |  | low | From a criteria pollutant perspective, this replaces natural gas (which already has relatively low amounts of criteria pollutants, especially PMs) with Hydrogen, so low (2 pts)
[10 empty] | 23 | RNG Full Potential by 2050 |  | 0 | From a criteria pollutant perspective, this basically replaces natural gas with natural gas, they are just sourced differently, so actually zero (0 pts).
[10 empty] | 24 | RH2 Injection 15% by 2035 |  | low | From a criteria pollutant perspective, this replaces natural gas (which already has relatively low amounts of criteria pollutants, especially PMs) with Hydrogen, so low (2 pts)
Insufficient Data
|  | 100% of new buses are ZEVs by 2035 | Transit Electrification | Ensure transit agencies are net zero - 50% new bus sales by 2030 and 100% new by 2035 - 50% electric/50% hydrogen |  | -9200000000 | -147000000 | -9300000000 |  | 3324000 |  | 107000000 | 46750902.5271 | -789 | 0% | -167000 | -17197 | 0 | -200 | 0 | linear |  | ODOT Climate Action Plan, 2021 Net Zero Pilot RFP in development. Note that this pilot will only include a small handful of small/rural providers and is not intended to create a pathway for all Oregon transit agencies to achieve net-zero emissions. The pilot will hopefully result in additional guidance for non-participating providers to reference. One size will not fit all providers. | Horrox, J., Casale, M. Electric Buses in America: Lessons from Cities Pioneering Clean Transportation. US Public Interest Research Group Education Fund. 2019. Infrastructure costs - "Electric Buses in Cities Driving Towards Cleaner Air and Lower CO2 March 29, 2018", Table 8: Associated cost comparison for electric buses | Y
|  | 50% of off-road vehicle sales are EVs by 2035 | Commercial Vehicles | Ensure off-road vehicles are zero emissions - 100% of new vehicle sales are RNG by 2050 (including farm, forestry, construction and recreational vehicles) | [5 empty] | 3802000 |  | 0 | 0 |  | 0% | -340000 | 0 | 0 | 0 | 0 | linear |  | Keeping in line with Medium and Heavy Duty sales assumption above
|  | 5% of fuel share from Pyrolysis of biomass by 2035 | Biomass | Develop torrefaction or pyrolysis industry - increase biomass fuel share to 5% by 2035 |  | 6900000 |  | 6900000 |  | 1161000 |  | 0 | 0 | unknown | 0% | -80000 | 685 | 227 | 2396 | 103 | linear |  | Torrefied Biomass and Where Is the Sector Currently Standing in Terms of Research, Technology Development, and Implementation - https://www.frontiersin.org/articles/10.3389/fenrg.2021.678492/full Table 1 Torrefaction Facilities - https://www.frontiersin.org/files/Articles/678492/fenrg-09-678492-HTML-r1/image_m/fenrg-09-678492-t001.jpg $7.86/GJ- torrified pellets | https://bioresources.cnr.ncsu.edu/resources/systematic-review-of-torrefied-wood-economics/
Note on F5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assume same cost therefore $0 additional capital needed
Note on K26: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: From DEQ "Foodwaste GHG estimated by DEQ" spreadsheet
Note on L26: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: From DEQ "Foodwaste GHG estimated by DEQ" spreadsheet

## Hybrid NPV&MAC
NPV of Net Cost/Benefits and MAC
Hybrid
# | Model Identifier | Description | Category | NPV of Net Cost/Benefit (discounted at 3%) | Cumulative Emissions Reduction (KTCO2e) | Marginal Abatement Cost ($ /MTCO2e) | resBldgCap | resBldgOM | resEquipCap | resEquipOM | persUseVehCap | persUseVehOM | resFuel | resEmissions | persUseVehFuel | persUseVehEmissions | comBldgCap | comBldgOM | comEquipCap | comEquipOM | comUseVehCap | comUseVehOM | nonResFuel | nonResEmissions | comUseVehFuel | comUseVehEmissions | energyProdCap | energyProdOM | energyProdFuel | energyProdEmissions | municipalLandUseCap | municipalLandUseOM | municipalOtherInfraCap | municipalOtherInfraOM | municipalFuel | municipalEmissions | carbonCapture | energyProdRevenue | transitRevenue | Extra Costs
1 | LC 2.01.01 - Act 68 Reduce the floor area of new homes | Reduce the floor area of new homes | Residential Buildings | -7320916906 | 1718 | -4261.302 | 0 | -5852548463 | 0 | 0 | 0 | 0 | -1468368443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | LC 2.01.02 - Act 68 shift to higher density residences in urban zones with fin | Reduced SF | Residential Buildings | -20906542928 | 1315 | -15898.5117 | -15987979057 | -3719472145 | -28276644 | -8575823 | 0 | 0 | -1162239260 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | LC 2.02.01 - Act 60 Require new res buildings to be net zero emissions | New Res Building Codes | Residential Buildings | -499311556 | 8044 | -62.0725 | 2734695054 | 0 | 2293705266 | 108443303 | 0 | 0 | -5636155179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | LC 2.02.02 - Act 60 Require new com buildings to be net zero emissions | New Com Building Codes | Non-Residential Buildings | 2353125649 | 11751 | 200.249 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3950690766 | 0 | 1560931097 | -252422557 | 0 | 0 | -2906073657 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | LC 2.03.01 - Act 62 Install electric heat pumps for new residential buildings and manufactured homes - heating step 3 | Heat pumps New Res | Residential Equipment | 623654460 | 4269 | 146.0891 | 0 | 0 | 5010616550 | 284724433 | 0 | 0 | -4671686523 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6A | LC 2.03.05 - Act 63 Install electric heat pumps for new commercial buildings - cooling system efficiency with fin | Heat pumps New Com | Non-Residential Equipment | -145196551 | 679 | -213.8388 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33205927 | -22609855 | 0 | 0 | -155792623 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6B | LC 2.03.07 - Act 63 Install electric heat pumps for new commercial buildings - water heating systems efficiency with fin | Water heaters New Com | Non-Residential Equipment | 199556626 | 444 | 449.4519 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 218543783 | -3973273 | 0 | 0 | -15013884 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | LC 2.04.01 - Act 61 Implement a GHG performance requirement of existing res buildings with fin | Retrofits res | Residential Buildings | 13950308699 | 19578 | 712.5502 | 26322114923 | 0 | 132742425 | 153377291 | 0 | 0 | -12657925940 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | LC 2.04.02 - Act 61 Implement a GHG performance requirement of existing com buildings with fin | Retrofits com | Non-Residential Buildings | 9493075551 | 21128 | 449.3125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21284393627 | 0 | -122406371 | -836236023 | 0 | 0 | -10832675682 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | LC 2.05.01 - Act 62 Install electric heat pumps for existing residential buildings and manufactured homes - heating | Heat pumps Existing Res | Residential Equipment | 3690370549 | 2740 | 1346.8506 | 0 | 0 | 5932236211 | 183207049 | 0 | 0 | -2425072711 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | LC 2.05.02 - Act 62 Install electric heat pumps for existing residential buildings and manufactured homes - water heating | Water heaters Existing Res | Residential Equipment | -253938896 | 4470 | -56.8096 | 0 | 0 | 33810882 | 30597261 | 0 | 0 | -318347039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | LC 2.05.07 - Act 63 Install electric heat pumps for existing commercial buildings - cooling system efficiency with fin | Heat pumps Existing Com | Non-Residential Equipment | -140448094 | 2813 | -49.9282 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 185977697 | 312503136 | 0 | 0 | -638928927 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | LC 2.05.09 - Act 63 Install electric heat pumps for existing commercial buildings - water heating systems efficiency with fin | Water heaters Existing Com | Non-Residential Equipment | 698988708 | 617 | 1132.8828 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 788738446 | -4426770 | 0 | 0 | -85322969 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | LC 2.07.04 - Act 13 Improve the energy efficiency of industrial facilities not covered by CPP | Industrial Process | Industrial Process | -1570647682 | 13621 | -115.3107 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1368273097 | 0 | 0 | 0 | -2938920779 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | LC 2.10.03 - Act 15 medium and heavy duty zero emission plan with fin | Medium and Heavy Duty vehicles | Medium and Heavy Duty vehicles | -10411759428 | 12337 | -843.9458 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60032018 | 0 | 143870489 | -5278071569 | 0 | 0 | -5337590365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | LC 2.10.05 - Act 34 Implement a strategy on regional freight and micromobility last mile delivery | Freight intensity | Commercial Vehicles | -797127335 | 588 | -1355.6587 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10187648 | -362060252 | 0 | 0 | -427194102 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2314666
16 | LC 2.10.09 - Act 31 Implement an electric micro-mobility strategy | Micro-Mobility | Personal Vehicles | -2904483345 | 3607 | -805.2352 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2979428204 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74944859
17 | LC 2.10.07 - Act 24 Expand Oregon passenger rail | Mode shift rail | Expand Rail | -2916397638 | 5488 | -531.4136 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3822782937 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 906385300
18 | LC 2.10.08 - Act 30 Deploy shared vehicles | Shared vehicles | Vehicle Share | -1910771067 | 5034 | -379.5731 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3481611281 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1570840214
19 | LC 2.10.10 - Act 33 Implement low emissions zones in urban areas | Mode shift | Shift to Transit | -628739136 | 2073 | -303.2991 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1511527020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882787884
20 | LC 2.17.01 - Act 46 Enhance the efficiency of the water system | Water savings | Water Efficiency | 1669838 | 2286 | 0.73046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1669838
21 | LC 2.17.03 - Act 4 organics diversion 2030 | Organics reduction | Waste Reduction | -73007914 | 19607 | -3.7236 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -73007914
22 | LC 2.08.01 - Act 12 Deploy green hydrogen in industries not covered by CPP | Green hydrogen industry | Industrial Fuel Switch | 198975947 | 18863 | 10.5485 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 198975947 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | LC 2.18.01 - Act 6x blend in RNG to use full potential | RNG blend in natural gas mix | RNG | 1628339764 | 22617 | 71.9963 | 0 | 0 | 0 | 0 | 0 | 0 | 189110148 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1439229615 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | LC 2.18.01 - Act 50 blend in 15% H2 by 2035 | H2 blend in natural gas mix | Hydrogen | 455659814 | 6763 | 67.3754 | 0 | 0 | 0 | 0 | 0 | 0 | 768316398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -312656583 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | LC 2.06.06 - cap Fac Fuel Cells | 5% Fuel cells Res | Hydrogen | -69913723 | 3409 | -20.5086 | 0 | 0 | 678282047 | 82555032 | 0 | 0 | -830750802 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insufficient Data
| LC 2.10.04 - Act 23 bus zero emission plan with fin | ZEV transit | Transit Electrification |  | 3324 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7556683 | 0 | -4859023209 | 0 | 0 | 0 | 0 | 5560921439
| LC 2.10.06 - Act 36 Ensure off-road vehicles are zero emissions | Off Road | Commercial Vehicles |  | 3802 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| LC 2.08.02 - Act 48 Develop torrefaction or pyrolysis industry | Biomass use industry | Biomass |  | 1161 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5593429

## Actions Not Included
Actions Not Included in the Analysis
Description | Category | Reason Not Included
Reduce paper and plastic waste generated | Materials | Recommended for future study
Deploy a circular economy strategy | Materials | Recommended for future study
Recover energy and nutrients from discarded food; prevent landfill disposal | Waste | Recommended for future study
Reduce incineration of waste | Waste | Recommended for future study
Reduce food waste | Waste | Recommended for future study
Require low carbon steel | Materials | Recommended for future study
Require low carbon concrete | Materials | Recommended for future study
Manage emissions from embodied carbon | Materials | Recommended for future study
Provide grants, incentives, and financial support for embodied carbon reduction strategies for whole buildings and building materials (MM added action item). Expand to include infrastructure | Materials | Recommended for future study
Reduce embodied carbon of buildings, infrastructure, and construction materials through measurement, disclosure, and performance standards for steel, for concrete, for wood products, for etc.… | Materials | Recommended for future study
Deploy Community Climate Investments | Industry | Represented by other more specific actions
Implement a cap on GHG emissions from fossil fuels | Energy | Addressed by other actions
Enhance energy storage | Energy | Addressed by HB 2021
Expand marine energy generation (wave, tidal) | Energy | Addressed by HB 2021
Deploy biomass district energy | Energy | Addressed by HB 2021
Install solar on new parking lots | Energy | Addressed by HB 2021
Increase geothermal electricity generation | Energy | Addressed by HB 2021
Install offshore wind energy off the Oregon Coast | Energy | Addressed by HB 2021
Increase large scale solar deployments | Energy | Addressed by HB 2021
Increase stocking on understocked forests. | Forests | Stakeholder Recommendation - Insufficient Data Available
Reforest riparian habitats | Agriculture | Stakeholder Recommendation - Insufficient Data Available
Improve road system operations | Transportation | Stakeholder Recommendation - Insufficient Data Available
Expand the road usage program (the pay-per-mile system OReGO) | Transportation | Stakeholder Recommendation - Insufficient Data Available
Consider strategy on pay as you drive insurance | Transportation | Stakeholder Recommendation - Insufficient Data Available
Increase the number of hydrogen fuel cell electric vehicles | Transportation | Stakeholder Recommendation - Insufficient Data Available
Planning for salt marshes due to sea level rise | Land-use | Stakeholder Recommendation - Insufficient Data Available
Protect and restore coastal forested wetlands | Land-use | Stakeholder Recommendation - Insufficient Data Available
Decarbonize fossil fueled trains | Transportation | Stakeholder Recommendation - Insufficient Data Available
28